# EMP Response Playbook

# EMP Response Playbook

**Version:** 0.1.0 | **Date:** 2026-01-27

## Objectives

1) Protect life, 2) Preserve critical assets, 3) Rapidly restore priority functions, 4) Maintain positive control.

## Phasing

### Phase 0 – Preparation (Pre-Event)

- Faraday cage inventory (radios, spares, laptops, SDRs)

- Generator and micro-hydro blackstart test monthly

- Offline backups; print critical phone trees and maps

### Phase 1 – 0 to 1 Hour (Immediate)

- Declare **ALPHA-LOCK**

- Personnel muster; accountability within 15 min

- Power: Isolate sensitive loads; check breakers/surge

- Comms: Primary radio net check; deploy handhelds from Faraday

- Intel: Confirm scope (grid, regional, national)

### Phase 2 – 1 to 24 Hours (Stabilize)

- Blackstart sequence:

1. Inspect generators / fuel

2. Bring up **Resonance Energy Systems** micro-hydro (if flow available)

3. Prioritize loads: Comms → Pumps → Refrigeration → Medical

- Water: Assess head/flow; ram pump check

- Logistics: Fuel run plan; establish perimeter patrols

### Phase 3 – 1 to 7 Days (Sustain)

- Rotate crews; enforce sleep cycles

- Repair/replace surge-damaged endpoints

- Ration non-critical loads; maintain SitRep cycle

## Checklists

- **EMP Kit:** Radios x6, spare batteries, solar roll, wire, ferrites, EMP bags

- **Docs:** Printed contacts, maps, procedures, key index cards

- **Comms Nets:** Primary/Alt/HF; authentication words; time sync at H+6

## Decision Triggers

- **Trigger A:** No grid > 4h → Start microgrid

- **Trigger B:** Comms compromised → Switch to brevity + runners

- **Trigger C:** Fuel < 50% → Initiate resupply run with escort

## Roles

- **CDR:** Declares posture, assigns priorities

- **XO:** Timekeeping, deconfliction

- **S3:** Executes blackstart steps, tracks status

- **S2:** Threat watch; access control

- **S4:** Fuel/water/spares; ration plan

- **S6:** Nets, radios, antenna checks, EMP discipline

---

**AAR due within 48 hours after stand-down**